LORAIN COUNTY FLOOD HAZARD PREVENTION RESOLUTION 
Permit Checklist
_____
Application
_____Legal Description of Property

_____Parcel Map (not required if incorporated into Site Map)
_____
Site Map showing:

1. Location of all proposed development activities
2. Location of the floodplain boundary and floodway (if applicable)
3. Existing grades

4. Proposed grades

_____
Construction Drawings shall include:
1. All structural, heating, plumbing & electrical plans

2. Plans to protect utilities from the base flood discharge*
3. Lowest floor level of the existing structure (if applicable)
4. Lowest floor level of the addition/new structure

_____
Hydraulic & hydrologic analysis indicating whether or not the proposed project will create a rise in flood levels during the base flood discharge**
_____Engineering analysis showing that there will be no reduction in flood carrying capacity***

_____Permit Fee ($50 payable to Lorain County Treasurer)
*Only required in detailed A Zones where base flood elevations are available.
**Only required when project is in a floodway.

***Only required when working within the banks of an approximate A zone.
